CORRIGENDUM no 1

to the

SUPPLY TENDER DOSSIER

Publication Ref: EuropeAid/128957/C/WKS/RS

Subject: “Supply of Security Equipment Supporting Implementation of ECAA Agreement in Serbia”

(07SER01/26/21)

The following alterations and/or corrections are made to the Instructions to Tenderers in the Supply Tender Dossier:

The former text:

- Timetable

|  | DATE | TIME* |
| --- | --- | --- |
| Clarification meeting / site visit (if any) | Not applicable | Not applicable |
| Deadline for request for any clarifications from the Contracting Authority | 23 November 2009 | 16:00 |
| Last date on which clarifications are issued by the Contracting Authority | 3 December 2009 | - |
| Deadline for submission of tenders | 14 December 2009 | 14:00 |
| Tender opening session | 14 December 2009 | 15:00 |
| Notification of award to the successful tenderer | 13 January 2010  | - |
| Signature of the contract | 29 January 2009 | - |

* All times are in the time zone of the country of the Contracting Authority	
 Provisional date

- Shall read as new text:

1.	Timetable

|  | DATE | TIME* |
| --- | --- | --- |
| Clarification meeting / site visit (if any) | Not applicable | Not applicable |
| Deadline for request for any clarifications from the Contracting Authority | 12 January 2010 | 16:00 |
| Last date on which clarifications are issued by the Contracting Authority | 22 January 2010 | - |
| Deadline for submission of tenders | 2 February 2010 | 14:00 |
| Tender opening session | 2 February 2010 | 15:00 |
| Notification of award to the successful tenderer | February 2010  | - |
| Signature of the contract | March 2010 | - |

* All times are in the time zone of the country of the Contracting Authority	
 Provisional date

- AND

- The former text:

- 9. Submission of tenders

## 9.3	All tenders must be received at Delegation of the European Commission to the Republic of Serbia before the deadline date and time, 14 December 2009 at 14:00 hours CET , by registered letter with acknowledgement of receipt or hand-delivered against receipt signed by Delegation of the European Commission to the Republic of Serbia or its representative.

- Shall read as new text:

- 9. Submission of tenders

## 9.3	All tenders must be received at Delegation of the European Commission to the Republic of Serbia before the deadline date and time, 2 February 2010 at 14:00 hours CET , by registered letter with acknowledgement of receipt or hand-delivered against receipt signed by Delegation of the European Commission to the Republic of Serbia or its representative.

- AND

- The former text:

- 18.	Opening of tenders

## 18.2	The tenders will be opened in public session on 14 December 2009 15:00 hours CET at Delegation of the European Commission to the Republic of Serbia, Vladimira Popovica 40, 11070 Belgrade, by the committee appointed for the purpose. The committee will draw up minutes of the meeting, which will be available on request.

- Shall read as new text:

- 18.	Opening of tenders

## 18.2	The tenders will be opened in public session on 2 February 2010 15:00 hours CET at Delegation of the European Commission to the Republic of Serbia, Vladimira Popovica 40, 11070 Belgrade, by the committee appointed for the purpose. The committee will draw up minutes of the meeting, which will be available on request.

The following modifications are made to the ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER in the Supply Tender Dossier,

on Lot no.4 only:

The new version of the Technical Specifications + Technical offer on LOT No.4 only is attached.

All other terms and conditions of the Supply Tender Dossier remain unchanged. The above alterations and /or additions to the Supply Tender Dossier are integral part of the Supply Tender Dossier.

LOT No.4

| Item Number | Specifications Required | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 8 | ON-SITE TRACE CHEMICAL DETECTION Ion Mobility Spectroscopy (IMS) based technology. |  |  |  |
| 8.1 | Equipment description Stationary device that detect and identifies explosives and/or narcotics during a single analysis. Explosive and narcotics are detected by chemical identification of microscopic residues of the explosive / narcotic compound. These residues can be in either or both of two forms – vapour and particulate. |  |  |  |
| 8.2 | Technical specifications |  |  |  |
| 8.2.1 | All equipment shall comply with ECAC (DOC 30 and annexes) recommendations concerning trace detectors used securing civil aviation. In addition to ECAC requirements mentioned at least following technical requirements shall be met: |  |  |  |
| 8.2.2 | Technology shall be based on IMS (Ion Mobility Spectrometry). |  |  |  |
| 8.2.3 | Possibility for dual use (explosives / narcotics). |  |  |  |
| 8.2.4 | Warm up time: 30 minutes or less. |  |  |  |
| 8.2.5 | Analysis time: less than 10 seconds. |  |  |  |
| 8.2.6 | Sampling method: swab with / without wand or advanced. |  |  |  |
| 8.2.7 | Printer connection or built-in printer. |  |  |  |
| 8.2.8 | User friendly analysis feed back with clear indication if the item is cleared or not cleared. (Results should be stated clearly with text indication such as: PASS or CLEAR / HITT, ALARM or EXPLOSIVES or similar easy to understand text or with colours GREEN=PASS RED=ALARM). |  |  |  |
| 8.2.9 | Detects most common explosives such as; RDX, PETN, NG, TNT… and others indicated by ECAC (DOC 30 and annexes), ICAO (annex17). |  |  |  |
| 8.2.10 | Detect most common drugs such as but not limited to: Cocaine, heroin, amphetamine, THC, LSD, methamphetamine. |  |  |  |
| 8.2.11 | Calibrating and maintenance software shall be password protected. |  |  |  |
| 8.2.12 | Test traces (pens or samples) for explosives and drugs shall be provided with the equipment. |  |  |  |
| 8.2.13 | Type of the radioactive source shall be clearly indicated and marked. |  |  |  |
| 8.2.14 | User friendly daily maintenance and calibration without tools. |  |  |  |
| 8.2.15 | Easy to use control panel. |  |  |  |
| 8.3 | Maintenance |  |  |  |
| 8.3.1 | Recommended and planned daily, weekly, monthly and yearly maintenance schedule shall be presented with the offer indicating which maintenance is needed to be done by operator, client engineers and/or distributor/factory engineers. |  |  |  |
| 8.3.2 | List of scheduled preventive maintenance shall be indicated. |  |  |  |
| 8.4 | Spare parts & disposal auxiliaries |  |  |  |
| 8.4.1 | Recommend list of spare parts for one calendar year operational use shall be included. |  |  |  |
| 8.4.2 | Delivery time schedule for recommended spare part shall be provided. |  |  |  |
| 8.5.2 | Recommended list of consumables for one year operational use shall be included in the offer. |  |  |  |
| 8.5.3 | Delivery time schedule for recommended consumables shall be provided. |  |  |  |
| 8.6 | Manuals that shall be provided together with the equipment |  |  |  |
| 8.6.1 | Operator manual in English language. |  |  |  |
| 8.6.2 | Maintenance manual in English language, including technical description with diagrams and instructions for maintenance and repair. |  |  |  |
| 8.7 | Training |  |  |  |
| 8.7.1 | Technical maintenance training for technical personnel to qualify them to conduct service and maintenance shall be included at a level that enables to conduct, daily, weekly, monthly and yearly maintenance and troubleshooting, including cleaning cycles and spare parts changing. |  |  |  |
| 8.8 | Warranty |  |  |  |
| 8.8.1 | Warranty period shall be 1 year from the date of equipment commissioning. The commercial warranty of at least two years including all spare parts and labour will be provided. |  |  |  |
| 9 | HAND-HELD (PORTABLE) TRACE DETECTOR Ion Mobility Spectroscopy (IMS) based technology. |  |  |  |
| 9.1 | Equipment description Portable device that detect and identify explosives and/or narcotics during a single analysis. Explosive and narcotics are detected by chemical identification of microscopic residues of the explosive / narcotic compound. These residues can be in either or both of two forms – vapour and particulate. |  |  |  |
| 9.2 | Technical specifications |  |  |  |
| 9.2.1 | All equipment shall comply with all ECAC (DOC 30 and annexes) recommendations concerning trace detectors used securing civil aviation. In addition to ECAC requirements mentioned at least following technical requirements shall be met: |  |  |  |
| 9.2.2 | Technology shall be based on IMS (Ion Mobility Spectrometry). |  |  |  |
| 9.2.3 | Possibility for multi use (explosives / narcotics / CW agents). |  |  |  |
| 9.2.4 | Warm up time; Max.30 minutes. |  |  |  |
| 9.2.5 | Analysis time; Max. 15 seconds. |  |  |  |
| 9.2.6 | Sample collection methods - option for at least two different ways: particle and vapour. |  |  |  |
| 9.2.7 | User friendly analysis feed back with clear indication whether the item is cleared or not cleared. |  |  |  |
| 9.2.8 | Detect most common explosives such as but not limited to; RDX, PETN, NG, TNT and indicated by ECAC (DOC 30 and annexes), ICAO (annex17). |  |  |  |
| 9.2.9 | Detect most common drugs such as but not limited to; Cocaine, heroin, amphetamine, THC, LSD, methamphetamine. |  |  |  |
| 9.2.10 | Calibrating and maintenance software shall be password protected. |  |  |  |
| 9.2.11 | Test traces (pens or samples) for explosives and drugs shall be provided with the equipment. |  |  |  |
| 9.2.12 | Type of the radioactive source shall be clearly indicated and marked. |  |  |  |
| 9.2.13 | Rechargeable battery which will operate the system minimum for 4 hours on regular use, including all necessary equipment for charging the battery. |  |  |  |
| 9.2.14 | Weight: under 4 kilos including battery. |  |  |  |
| 9.2.15 | User friendly daily maintenance and calibrating without tools. |  |  |  |
| 9.2.16 | Easy to use control panel. |  |  |  |
| 9.2.17 | Colour display |  |  |  |
| 9.3 | Maintenance |  |  |  |
| 9.3.1 | Recommended and planned daily, weekly, monthly and yearly maintenance schedule shall be presented with the offer indicating which maintenance need to be done by operator, client engineers and/or distributor/factory engineers. |  |  |  |
| 9.3.2 | List of scheduled preventive maintenance shall be indicated. |  |  |  |
| 9.4 | Spare parts & disposal auxiliaries |  |  |  |
| 9.4.1 | Recommend list of spare parts for one year operational use shall be included. |  |  |  |
| 9.4.2 | Delivery time schedule for recommended spare part shall be provided. |  |  |  |
| 9.4.3 | Recommended list of consumables for one calendar year operational use shall be included. |  |  |  |
| 9.4.4 | Delivery time schedule for recommended consumables shall be provided. |  |  |  |
| 9.5 | Manuals that shall be provided together with the equipment |  |  |  |
| 9.5.1 | Operator manual in English language. |  |  |  |
| 9.5.2 | Maintenance manual in English language, including technical description with diagrams and instructions for maintenance and repair. |  |  |  |
| 9.6 | Training |  |  |  |
| 9.6.1 | Technical maintenance training for technical personnel to qualify them to conduct service and maintenance shall be included at a level that enables to conduct, daily, weekly, monthly and yearly maintenance and troubleshooting, including cleaning cycles and spare parts changing. |  |  |  |
| 9.7 | Warranty |  |  |  |
| 9.7.1 | Warranty period shall be 1 year from the date of equipment commissioning. The commercial warranty of at least two years including all spare parts and labour will be provided. |  |  |  |