# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Supply of Training and Medical equipment for Emergency Medical Services Training Centres (Re-Launch ex Lot 2) - Location - Serbia

Publication reference: EuropeAid/126896/C/SUP/RS

Column 1-2 should be completed by the Contracting Authority

Column 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | TRAINING MANIKIN-CHILD SIZE |  |  |  |
|  | Child-size training manikin.(+/- 4 to 7 years old) |  |  |  |
|  | Training for CPR (Cardiopulmonary resuscitation) and rescue |  |  |  |
|  | Manikin to learn the techniques of opening the airway |  |  |  |
|  | Tilt of head, jaw and chin |  |  |  |
|  | Simulation of chest ventilation and compression |  |  |  |
|  | Simulation of carotids pulse |  |  |  |
|  | Disposable airways |  |  |  |
|  | Feedback of CPR performance |  |  |  |
|  | Carrying case |  |  |  |
|  | QUANTITY: 4 |  |  |  |
| 2 | TRAINING MANIKIN-BABY SIZE-CPR |  |  |  |
|  | Baby-size training manikin. |  |  |  |
|  | Training for CPR (Cardiopulmonary resuscitation) and rescue |  |  |  |
|  | Manikin to learn the techniques of opening the airway |  |  |  |
|  | Tilt of head, jaw and chin |  |  |  |
|  | Simulation of chest ventilation and compression |  |  |  |
|  | Simulation of brachial pulse |  |  |  |
|  | Disposable airways |  |  |  |
|  | Feedback of CPR performance |  |  |  |
|  | Carrying case |  |  |  |
|  | QUANTITY: 4 |  |  |  |
| 3 | TRAINING MANIKIN-ADULT SIZE |  |  |  |
|  | Adult-size training manikin |  |  |  |
|  | Training for CPR (Cardiopulmonary resuscitation) and use of defibrillators |  |  |  |
|  | The manikin must be able to accept high voltage shock with a real defibrillator and correctly simulate cardiac rhythms |  |  |  |
|  | Manikin to learn the techniques of opening the airway |  |  |  |
|  | Tilt of head, jaw and chin |  |  |  |
|  | Simulation of chest ventilation and compression |  |  |  |
|  | Simulation of carotids pulse |  |  |  |
|  | Disposable airways |  |  |  |
|  | Feedback of CPR performance |  |  |  |
|  | Carrying case |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 4 | TRAINING MANIKIN-BABY SIZE-ALS |  |  |  |
|  | Baby-size training manikin for advanced life support |  |  |  |
|  | Training for resuscitation, with airway anatomy |  |  |  |
|  | Manikin to learn the techniques of airway management, CPR, ECG and vascular access |  |  |  |
|  | Training for intubation and ventilation |  |  |  |
|  | Training for bone marrow aspiration |  |  |  |
|  | Rhythm simulator |  |  |  |
|  | Carrying case |  |  |  |
|  | QUANTITY: 4 |  |  |  |
| 5 | TRAINING MANIKIN-NEWBORN |  |  |  |
|  | Newborn-size training manikin to learn the techniques of vascular access |  |  |  |
|  | Equipped with jugular, temporal, saphenous and popliteal veins |  |  |  |
|  | Training for venipuncture, insertion of a catheter, umbilical catheterization |  |  |  |
|  | Interchangeable Pupil |  |  |  |
|  | Airway Blockage – open, partial and closed |  |  |  |
|  | Movement in all four limbs |  |  |  |
|  | Carrying case |  |  |  |
|  | QUANTITY: 4 |  |  |  |
| 6 | TRAINING MANIKIN-AIRWAY MANAGEMENT |  |  |  |
|  | Training for airway management |  |  |  |
|  | Head, or upper torso and head adult-size training manikin |  |  |  |
|  | Manikin to practice the techniques of intubation |  |  |  |
|  | For training with laryngoscopes, training of tracheal intubation, introduction of a laryngeal mask, fiberoptic intubation, insertion of tubes |  |  |  |
|  | Movement of the head, cervical spine and jaw. |  |  |  |
|  | Lifting and tilting of the head. |  |  |  |
|  | Head on a stable base. |  |  |  |
|  | Carrying case. |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 7 | TRAINING MANIKIN-ARM |  |  |  |
|  | Training for intravenous therapy |  |  |  |
|  | Rotating arm with representation of veins |  |  |  |
|  | For training with insertion of catheters and cannulas, infusion of fluids, injection of liquids, blood sampling and pulse measurement |  |  |  |
|  | Infusion stand |  |  |  |
|  | Complete with syringes and consumables for start-up |  |  |  |
|  | Arm on a stable base |  |  |  |
|  | Carrying case |  |  |  |
|  | QUANTITY: 4 |  |  |  |
| 8 | TRAINING MANIKIN ADULT SIZE –ALS |  |  |  |
|  | Adult-size training manikin |  |  |  |
|  | Training for advanced life support |  |  |  |
|  | Full body for training in CPR (Cardiopulmonary resuscitation), ACLS (Advanced cardiac life support), bleeding control and trauma |  |  |  |
|  | Spontaneous respiration |  |  |  |
|  | Full Range of airway spinal complications - Lariyngospasam - Tongue edema - Pharangeal opstruction - Descreast Cervical range - Trismus |  |  |  |
|  | Debriefing with synchronized audio and video feature |  |  |  |
|  | Possibility to create scenarios |  |  |  |
|  | Windows OS compatible |  |  |  |
|  | Carrying case |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 9 | CPR MASK |  |  |  |
|  | Mask with one-way valve |  |  |  |
|  | Hydrophobic filter to avoid passage of liquids |  |  |  |
|  | Oxygen inlet |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 10 | TUBES AND MASKS |  |  |  |
|  | Training for airway management |  |  |  |
|  | Head, or upper torso and head adult-size training manikin |  |  |  |
|  | Manikin to practice the techniques of intubation |  |  |  |
|  | For training with laryngoscopes, training of tracheal intubation, introduction of a laryngeal mask, fiberoptic intubation, insertion of tubes |  |  |  |
|  | Movement of the head, cervical spine and jaw. |  |  |  |
|  | Lifting and tilting of the head. |  |  |  |
|  | Head on a stable base. |  |  |  |
|  | Carrying case. |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 11 | BALLOON |  |  |  |
|  | Self-re-inflating bag with non-re-breathing valves to provide positive pressure ventilation during resuscitation with oxygen or air |  |  |  |
|  | Delivers a volume of +/- 1 litre |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 12 | IMMOBILIZATION EQUIPMENT AND MISCELLANEOUS |  |  |  |
|  | Neck collar: orthopaedic piece to support a patient's spinal cord and head (for adults)- quantity : 2 |  |  |  |
|  | Leg immobilizer: orthopaedic piece to support a patient's leg (for adults)- quantity : 4 |  |  |  |
|  | Arm immobilizer: orthopaedic piece to support a patient's leg (for adults)-quantity : 4 |  |  |  |
|  | Inflatable mattress- length +/- 2 meters- quantity : 1 |  |  |  |
|  | Syringe, glass and stainless steel, capacity +/- 5 ml- quantity : 5 |  |  |  |
|  | Syringe, glass and stainless steel, capacity +/- 50 ml-quantity : 5 |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 13 | AUTOMATED EXTERNAL DEFIBRILATOR – TRAINING DEVICE |  |  |  |
|  | Training protocol according to ERC 2005 Guidelines |  |  |  |
|  | CPR metronome |  |  |  |
|  | Choose from min. four different fixed rescue scenarios and have complete manual control of the entire rescue. |  |  |  |
|  | Remote controller |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 14 | DEFIBRILATOR WITH MONITOR |  |  |  |
|  | External bi-phase defibrilator with pedals that can be used for selecting energy and discharge |  |  |  |
|  | Manual, semi-automated, sinchronous cardioversion |  |  |  |
|  | ECG monitoring with minimum 12 lids |  |  |  |
|  | Integrated thermal printer min. 90 mm |  |  |  |
|  | Battery recharger 220VAC, 12VDC/24VDC |  |  |  |
|  | Two batteries |  |  |  |
|  | Capacity of the battery must be 100 discharges with peak energy in continuity or 2 hours of continuous work |  |  |  |
|  | Minimum 16MB memory card |  |  |  |
|  | ECG display with minimum 2 curves, high resolution, adjustable: contrast, ECG amplitude and alarms, sound volume |  |  |  |
|  | Max. energy level of defibrillator from 100 to 360Ј |  |  |  |
|  | Loading speed to the maximum energy: 7 seconds |  |  |  |
|  | Maximum weight 8.5 kg |  |  |  |
|  | Working set minimally equipped with: 2 batteries, charger, adapters, patient’s cable, 2 rolls of thermal paper with manual in Serbian, and the bag for carrying |  |  |  |
|  | Working temperature: from 0°C to 40°C |  |  |  |
|  | Air humidity for work: up to 95% relative air humidity |  |  |  |
|  | Shockproof on sprinkling with water according to the European standards (moisture resistant) according to the standard, minimum IPX 3 |  |  |  |
|  | Pulse oxymetry with sensor, trans-cutaneous and pace-maker pacer output 0-140 mA +/- 5%, rate variable from 30 to 180ppm +/- 1.5%. |  |  |  |
|  | QUANTITY: 8 |  |  |  |
| 15 | SPINEBOARD |  |  |  |
|  | Length: minimum 183 cm |  |  |  |
|  | Width: minimum 41 cm |  |  |  |
|  | Thickness: minimum 4 cm |  |  |  |
|  | Weight: up to 7,5 kg |  |  |  |
|  | QUANTITY: 4 |  |  |  |
| 16 | EXTRACTION DEVICE (KENDRICK IN PRACTICE) |  |  |  |
|  | The carcass of the KED is made of a flexible material |  |  |  |
|  | Reinforced with wooden slats to prevent deformation once applied |  |  |  |
|  | Has a head piece which, in combination with a hard cervical collar, eliminates movement of the cervical spine |  |  |  |
|  | 3 straps, with corresponding buckles, that wrap around the torso to fix it in position |  |  |  |
|  | 2 straps that secure it at the groin |  |  |  |
|  | A malleable cushion to place behind the head. |  |  |  |
|  | Head and chin straps to secure the head within the device |  |  |  |
|  | Carrying/lifting handles on both sides |  |  |  |
|  | QUANTITY: 4 |  |  |  |
|  | TRAINING: training on site: 8 days – (2 days in Belgrade + 2 days in Nis, 2 days in Novi Sad, 2 days in Kragujevac) The Tenderer shall provide training for four people in each location on the use and application of equipment. The Tenderer shall provide a detailed training plan. The training shall be given in Serbian language. Course material and reference books shall be provided in English and Serbian. |  |  |  |

DELIVERY PLACE:

All equipment should be delivered at the following address:

Ministry of Health

Nemanjina Str.  22-24

11000 Belgrade,

Serbia